

**Ness LLC Proposal for:** 3003 N.W. 13th St. Meridian, Idaho 83646 **March 3, 2020**

**What to expect with a Drain Install:**

* Access is key! We will need admission Monday through Friday, 8 am - 5 pm while the project is in progress. Ness is bonded and insured. It is not necessary for a home owner to be present while the work is being done. Please make sure we have a house key or garage code for entry. The easier the access is for our technicians, the faster the job goes!
* All access to the crawlspace will be protected by plastic sheeting during work.
* Installing a drain system is a 14-21day process, depending on drying time. The process CANNOT be rushed or our warranty may be compromised. Please plan accordingly.
* Fans need time to dry the area so we don't always schedule for consecutive days. We try to give as much notice as possible but last minute schedule changes can and do occur. Please direct all questions to ty@nessllc.com
* Please note: If a signed contract is returned within 24 hours, your estimated start date will be during the week of March 16th. Please plan accordingly. If there are any cancellations, you will be moved up in the schedule and contacted for access.
* We have now extended our warranty for sump pump drainage systems to 10 years!





MRH Homes, 208-340-8096 3-3-2020 Page 2 of 2

askchuckg@yahoo.com

**PROPOSED WATER DRAINAGE for the crawlspace at 3003 N.W. 13th St. Meridian, Idaho 83646**

Based on the visual evidence that there is a history of the water intrusion, a drain system is recommended on the interior perimeter of the crawlspace. There did not appear to be any visible microbial growth, at this time, but the view was limited due to standing water in some areas. If any microbial growth is discovered, while the recommended work is performed, you will be informed immediately and a bid will be provided for remediation. The vapor barrier is in poor condition and will need replacement. All seams will be taped per code for a conditioned crawlspace. In some areas, the bottom of the insulation (approx. 4") is saturated and should be removed. This will not be enough to warrant replacement but you may want to have an insulation professional evaluate.

**Part 1: Drainage** (Digline will be contacted to mark all utilities)   
 **1.** All access to crawlspace surfaces will be protected by plastic sheeting during work.  
 **2.** Preliminary digging and pumping to remove excess water, as needed.  
 **3.** Negative air machine used for the crawlspace during work and for dry down.  
 **4.** Additional fans will be installed for dry down, as needed.  
 **5.** Clear air vents of any insulation that may be blocking air flow.   
**Part 2:**  
  **1.** Install a fabric lined graded drain system below the bottom of the footings along the entire interior perimeter of the crawlspace except for behind the garage.  
 **2.** Drain in crawlspace will collect into a sump tank located in the back-right area of the crawlspace.   
**Part 3:**Install sump pump into tank with insulated lid in the appropriate determined area. Sump will discharge through a drain line to a dispersal bed towards the front right landscaped area. (The sump pump discharge line will not be visible from the outside of the house. Installation of electrical outlet with audible alarm and manual shut-off included.)

**Total Labor & Materials Parts 1-3 = $3,486.13**https://ssl.gstatic.com/ui/v1/icons/mail/images/cleardot.gif

**Part 4:** Remove and dispose of old vapor barrier, miscellaneous debris, and building materials. Install new 6 mil. vapor barrier in the entire crawlspace and up onto the footings, where possible. **ADD to Total = $536.42**

***>> To be paid in full upon completion << >> 3% charge on credit card transactions <<***

**Parts 1-3 Accepted by**: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Part 4 Accepted by**: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Please print name**: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

When accepted, **please sign, fax or scan and send back. Fax 461-9505 or Email** [**ty@nessllc.com**](mailto:ty@nessllc.com)

Douglas A. Ness (CMRS) -Idaho Contractor Registration# RCE-481

Ness, LLC gives a **10 Year Warranty** on sump pump, drain system for no standing water (as per signed contract) on the crawlspace floor where drain was installed from ground water seepage, and rain/snow. This Warranty is Transferable to new home buyer within warranty period. Drainage Warranty excludes water standing on the crawlspace floor from flooding that is not part of ground water seepage from irrigation or rain or due to, interior home appliances or plumbing leaks. Furthermore, Ness, LLC is not responsible for any future landscape changes that may disrupt the system. A Service Charge applies for *non*-warranty issues.

**Work under this proposal is limited to the items listed. Any additional work will need to be outlined and set out by a separate contract, or have the contract amended and signed to reflect any additional work desired.**